## Sheet1
Version | Produced By |  | Date | Content
1 | Ian Ellis |  | 2021-02-25 | Base version
2 | Jenny Ryder |  | 27/5/23
3 | Jenny Ryder |  | 2025-03-06
LGP Gas Cylinders /Burners |  |  |  |  | Date of next review
Hazard/Risk |  | To Whom | Controls |  | Changes which need controlling
Hazard - Something that may cause harm or damage. Risk - The chance of it happening |  | Young people, Leaders, Visitors? | Controles - Ways of making the activity safer by removing or reducing the risk from it. For example - you might use a different piece of equipment or you might change the way the activity is carried out |  | Keep checking throughout the activity in case you need to change it …or even stop it! This is a great place to add comments which will be used as part of the review.
Hazard - Damaged equipment. Risk - Fire, Injury |  | All | Check equipment condition before use. Hoses should be replaced if they show signs of wear,cracking or cuts and before they reach the expiry date. Hoses clips should be inspected and replaced if corroded, rusty, worn or otherwise damaged.
Hazard - Incorrect hose. Risk - Blowout, fire. |  | All | Hoses must comply to British Standard, Low pressure BS.3212/1 plus year of manufacture. Up to 50mbar High pressure BS.3212/2 plus year of manufacture. Up to 17.5bar
Hazard - Connecting gas supply. Risk - Gas Leak |  | All | Ensure that gas cylinder tap is in the off position. Use the correct regulator (marked BS.3016 or EN.12864) for the gas being used. This will give the correct pressure for the appliance. Have a large enough maximum flow for the appliance. The mating faces of the regulator and the gas cylinder are clean. Always check for leaks after connecting appliances/regulators. LPG gas is heavier than air and is highly flammable, and should always have adequate permanent ventilation. Not to be used in a confined space.
Hazard - Position of gas cylinder. Risk - Leakage and/or explosion. |  | All | Cylinders must be kept away from any heat source in a well ventilated space in a stable upright position. When in use (cooking) the cylinders should be kept out of the cooking tent so that the valve is accessible in the event of a fire.
Hazard - Burner fault. Risk - Fire /injury. |  | All | Ensure that the burner is checked before use, all connections are tight and valves operate correctly. Set up away from mess tent/dining shelter sides. Table being used under cooking burners should be heat resistant or place a thin metal plate under the burner.
Hazard - Incorrect Use Risk - Fire /injury. |  | All | No gas appliance is to be used inside a tent without adequate ventilation i.e.a tent of patrol size or smaller is NOT suitable
Hazard - Gas cartridges Risk - Use |  | All | Gas cartridges come in two main types, those with a integral valve and pierceable. Scouts should not use the pierceable type as they can not be removed from any appliance without losing the gas. Both types are thrown away when empty, DO NOT DISPOSE OF ON A FIRE.
Considerations for Squirrels
Hazard/Risk |  | To Whom | Controls |  | Changes which need controlling
See above |  | All | It is recommended that Squirrels do not use this equipment.
Considerations for Beavers
Hazard/Risk |  | To Whom | Controls |  | Changes which need controlling
See above |  | All | It is recommended that Beavers do not use this equipment.
Considerations for Cubs
Hazard/Risk |  | To Whom | Controls |  | Changes which need controlling
See above |  | All | It is recommended that Scouts use this equipment under supervision.
Considerations for Scouts
Hazard/Risk |  | To Whom | Controls |  | Changes which need controlling
See above |  | All | It is recommended that Scouts use this equipment under supervision.